# Grand Isle Consolidated Water District

# Minutes of Regular Meeting May 13, 2015

Present at meeting:   Chuck Besterman, George Wilcox, Janine Banks, Julia Small, Shannon Bundy, Michael Inners and Brad Washburn, Warren Steadman, Mark Simon.
Chuck Besterman opened the May 13th  meeting at 7:05PM.

# Review of Meeting Minutes

# George Wilcox made a motion to accept the April 8th minutes.  Janine Banks seconded.  Voice vote approved.

# User’s

# -Stephen Williams submitted a $6,000 check with a connection agreement and after discussion, Janine Banks made a motion to accept the connection for 2 single family home connections at 1-2 Robinson Point.  Julia Small seconded.  Shannon Bundy arrived after discussion so she recused herself.  Warren is going to verify the need for a connection, the previous owner may have done this already.

# -A request for 2 allotments at 5 Hyde Road was then presented to the Board,  The matter was tabled until Warren can obtain more accurate data.

# -The rate committee met with a user who has challenged their new rate because of the description of an apartment.  After much discussion it was decided that the user would get credited for the first 2 quarters, and that the description would be revised in order to be in alignment with the Town's description of an apartment.  The user would then be charged appropriately in the future after the apartment description is revised.

# Operator’s Report

SOS’s written report is attached to these minutes, discussion ensued on the following items:

- A Hach technician cleaned and calibrated the six filter turbidimeters and both the raw and finished water chlorine analyzers.  He also made repairs on five of the six turbidimetersby replacing the photo cells, which were failing due to age.  As part of the maintenance contract, he will return to upgrade the controls for the  chlorine analyzers.

- The Source Protection Plan has been upgraded.

- The new system controls have been installed by DC energy.  Once the new pumps are installed, DC energy will upgrade the controls between the filter building and the pump house and between the Bell Hill instrumentation and the filter building.

- Warren then presented a bill to the Board for the repairs that were done by Neagley and Chase for the hatch.  After discussion, Michael Inners made a motion to pay $9,487.37 and to code it for special projects.  George Wilcox seconded.  Voice vote approved.

- There is a user who has foreclosed a trailer in Cooper Bay Mobile Home trailer park and while addressing this issue Mr. Adams from the Housing Agency discovered that an acceptance agreement needs to be drafted to show that the GICWD has accepted Cooper Bay Mobile Home Park as a distribution system.  After discussion, it was decided that Warren would draft an acceptance letter making sure that the GICWD is only accepting ownership up to the curbstops.  George Wilcox made a motion to approve Warren writing the acceptance letter and Janine Banks seconded.  Voice vote approved.

Engineer’s Report

GME’s written report is attached to these minutes, discussion ensued on the following items:

-Neagley and Chase has resumed the project as of May 8 and everything is going well except for the third party testing of the Tetrasolv vessel which showed some significant deficiencies in the coating thickness readings.  Tetrasolv will shipe the vessels to the site and will deal with the deficiencies on site.  There is not an option, it needs to be fixed.

Treasurer’s Report

Chuck Besterman presented the report.  Warren will update the report after finding some issues.

Shannon Bundy then made a motion to adjourn at 8:25PM and seconded by Chuck Besterman. Voice vote approved.